## Sample 1
Centroid | Efficiency | Net_Area | SQRT(Net_Area) | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | cps/g | error cps | Activity Error | cps/g (corrected) | cps/g @t0 | ROI | A | I.A. | X-section | X-section (corrected) | Live Time | Real Time | Dead Time | Sample ID/Type | Sample Mass | Neutron Flux | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  | 1/(s*g) |  |  |  |  | ID# |  |  | cm^2 | cm^2 | (s) | (s) | (%) |  | (g) | n/(s*cm^2) |  |  | (s)
264.62 | 0.1186 | 597.9 | 24.452 | 74.8 | 0.0205 | 1.62 | 0.61% | 0.87 | 7930 | 75-Se | 10348300.8 | 6.6982e-08 | 0.589 | 0.29313 | 0.61158 | 0.0008374 | 0.011988 | 0.61217 | 0.66509 | 1 | 74 | 0.0087 | 5.9198e-23 | 4.1305e-23 | 29200 | 29230 | 0.1 | 1/UCB 060 Fish | 0.4793 | 100000000000 | 3/29/2016 - 2:52:50 PM | 4/12/2016 - 20:39:46 | 1237616 | 0.00033954 | 4.0704e-06
279.18 | 0.11334 | 1300.8 | 36.0666 | 69.2 | 0.0446 | 1.27 | 0.46% | 1.04 | 6716 | 203-Hg | 4027276.8 | 1.7211e-07 | 0.81 | 0.48526 | 1.0124 | 0.0012352 | 0.013454 | 1.015 | 1.2559 | 2 | 202 | 0.2986 | 1.9567e-23 | 1.3653e-23 | [9 empty] | 6.0041e-05 | 8.0782e-07
400.52 | 0.083486 | 233.7 | 15.2872 | 38.5 | 0.008 | 1.09 | 0.27% | 0.67 | 2169 | 75-Se | 10348300.8 | 6.6982e-08 | 0.1147 | 0.8358 | 1.7438 | 0.00052354 | 0.054673 | 1.7455 | 1.8964 | 3 | 74 | 0.0087 | 5.9198e-23 | 4.1305e-23 | [9 empty] | 0.00096813 | 5.293e-05
510.88 | 0.067934 | 805.7 | 28.3849 | 48.9 | 0.0276 | 2.62 | 0.51% | 0.9 | 2755 | Annihlation |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00097208 | #DIV/0! | #DIV/0! | #DIV/0! | 4 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
554.33 | 0.063396 | 2335.9 | 48.3311 | 55.3 | 0.08 | 1.37 | 0.25% | 1.08 | 3343 | 82-Br | 127080 | 5.4544e-06 | 0.708 | 1.7823 | 3.7185 | 0.0016552 | 0.036876 | 4.0228 | 3437.3361 | 5 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0030203 | 0.00011138
559.06 | 0.062941 | 454.8 | 21.326 | 33.3 | 0.0156 | 1.29 | 0.23% | 0.82 | 1289 | 76-As | 93121.92 | 7.4434e-06 | 0.45 | 0.54991 | 1.1473 | 0.00073034 | 0.025786 | 1.2766 | 12789.1444 | 6 | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [9 empty] | 0.0030751 | 7.9292e-05
604.47 | 0.058913 | 108.5 | 10.4163 | 24.8 | 0.00372 | 1.06 | 0.18% | 0.66 | 763 | 134-Cs | 65247680 | 1.0623e-08 | 0.9762 | 0.06461 | 0.1348 | 0.00035672 | 0.0062027 | 0.13482 | 0.13661 | 7 | 133 | 1 | 3.3074e-23 | 2.3077e-23 | [9 empty] | 1.2306e-05 | 7.6334e-08
609.5 | 0.058501 | 139.9 | 11.8279 | 29.9 | 0.00479 | 1.75 | 0.29% | 0.95 | 949 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00040507 | #DIV/0! | #DIV/0! | #DIV/0! | 8 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
619.13 | 0.057729 | 1173.2 | 34.252 | 41.3 | 0.0402 | 1.37 | 0.22% | 1.04 | 1740 | 82-Br | 127080 | 5.4544e-06 | 0.434 | 1.6036 | 3.3458 | 0.001173 | 0.046819 | 3.6196 | 3092.7922 | 9 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0027176 | 0.00012723
698.36 | 0.052131 | 665 | 25.7876 | 32.7 | 0.0228 | 1.46 | 0.21% | 1.08 | 1278 | 82-Br | 127080 | 5.4544e-06 | 0.2849 | 1.5334 | 3.1992 | 0.00088314 | 0.059462 | 3.461 | 2957.2879 | 10 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0025985 | 0.00015451
776.54 | 0.04765 | 2150.6 | 46.3746 | 50 | 0.0737 | 1.61 | 0.21% | 1.02 | 2594 | 82-Br | 127080 | 5.4544e-06 | 0.835 | 1.8511 | 3.862 | 0.0015882 | 0.039916 | 4.1781 | 3570.0239 | 11 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0031369 | 0.00012521
795.63 | 0.04668 | 97.4 | 9.8691 | 21 | 0.00334 | 1.54 | 0.19% | 0.88 | 655 | 134-Cs | 65247680 | 1.0623e-08 | 0.8553 | 0.083546 | 0.17431 | 0.00033798 | 0.0084654 | 0.17434 | 0.17664 | 12 | 133 | 1 | 3.3074e-23 | 2.3077e-23 | [9 empty] | 1.5913e-05 | 1.3471e-07
827.89 | 0.045135 | 612.4 | 24.7467 | 31.1 | 0.021 | 1.59 | 0.19% | 1.38 | 1108 | 82-Br | 127080 | 5.4544e-06 | 0.2403 | 1.9337 | 4.0344 | 0.00084749 | 0.078139 | 4.3646 | 3729.3524 | 13 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0032769 | 0.00025606
910.93 | 0.041625 | 89 | 9.434 | 17.3 | 0.00305 | 1.42 | 0.16% | 0.8 | 404 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00032308 | #DIV/0! | #DIV/0! | #DIV/0! | 14 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1044.04 | 0.037083 | 583.1 | 24.1475 | 28.8 | 0.02 | 1.76 | 0.17% | 0.95 | 959 | 82-Br | 127080 | 5.4544e-06 | 0.2723 | 1.9776 | 4.126 | 0.00082697 | 0.081896 | 4.4636 | 3813.9764 | 15 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0033513 | 0.00027445
1076.76 | 0.036127 | 216.9 | 14.7275 | 19.8 | 0.00743 | 2.15 | 0.2% | 1.31 | 352 | 86-Rb | 1607040 | 4.3132e-07 | 0.09 | 2.2846 | 4.7665 | 0.00050437 | 0.15512 | 4.7966 | 8.1802 | 16 | 85 | 0.7217 | 6.7842e-24 | 4.7336e-24 | [9 empty] | 7.8359e-05 | 1.2155e-05
1115.61 | 0.035058 | 546.3 | 23.3731 | 27.7 | 0.0187 | 1.72 | 0.15% | 1.19 | 847 | 65-Zn | 21060000 | 3.2913e-08 | 0.506 | 1.0546 | 2.2004 | 0.00080045 | 0.045122 | 2.2014 | 2.293 | 17 | 64 | 0.486 | 4.7158e-24 | 3.2904e-24 | [9 empty] | 0.00046301 | 2.0892e-05
1120.44 | 0.03493 | 59.7 | 7.7266 | 15.8 | 0.00204 | 1.75 | 0.16% | 1.31 | 275 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00026461 | #DIV/0! | #DIV/0! | #DIV/0! | 18 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1173.2 | 0.033595 | 187.8 | 13.704 | 18.4 | 0.00643 | 1.71 | 0.15% | 1.13 | 421 | 60-Co | 166238870.4 | 4.1696e-09 | 0.9997 | 0.1915 | 0.39954 | 0.00046932 | 0.013974 | 0.39956 | 0.40163 | 19 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [9 empty] | 3.1267e-05 | 4.3692e-07
1237.8 | 0.032104 | 28.9 | 5.3759 | 10 | 0.000989 | 1.08 | 0.09% | 1.67 | 122 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00018411 | #DIV/0! | #DIV/0! | #DIV/0! | 20 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1252.73 | 0.03178 | 84.2 | 9.1761 | 15.7 | 0.00288 | 2.66 | 0.21% | 0.85 | 232 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00031425 | #DIV/0! | #DIV/0! | #DIV/0! | 21 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1317.41 | 0.030453 | 572.3 | 23.9228 | 26.3 | 0.0196 | 1.8 | 0.14% | 0.64 | 753 | 82-Br | 127080 | 5.4544e-06 | 0.2648 | 2.4305 | 5.0709 | 0.00081927 | 0.1016 | 5.4859 | 4687.4711 | 22 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0041188 | 0.00041846
1331.55 | 0.030179 | 253.2 | 15.9123 | 20.3 | 0.00867 | 3.25 | 0.24% | 0.84 | 450 | 60-Co | 166238870.4 | 4.1696e-09 | 0.9999 | 0.28736 | 0.59953 | 0.00054494 | 0.018059 | 0.59957 | 0.60267 | 23 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [9 empty] | 4.6918e-05 | 8.4727e-07
1368.62 | 0.029485 | 532.4 | 23.0738 | 25.2 | 0.0182 | 1.97 | 0.14% | 0.64 | 678 | 24-Na | 53852.4 | 1.2871e-05 | 1 | 0.61838 | 1.2902 | 0.0007902 | 0.0268 | 1.548 | 12821650.8457 | 24 | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [9 empty] | 0.93397 | 0.02503
1460.73 | 0.027903 | 234.6 | 15.3167 | 18.1 | 0.00804 | 1.77 | 0.12% | 1.03 | 382 | 40-K | 40448000000000000 | 1.7137e-17 | 0.11 | 2.6176 | 5.4614 | 0.00052454 | 0.1709 | 5.4611 | 5.4611 | 25 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1474.92 | 0.027675 | 340.3 | 18.4472 | 20.5 | 0.0117 | 1.94 | 0.13% | 1.04 | 465 | 82-Br | 127080 | 5.4544e-06 | 0.1632 | 2.5803 | 5.3835 | 0.00063175 | 0.13988 | 5.824 | 4976.4297 | 26 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.0043727 | 0.00061163
1764.3 | 0.023779 | 53.5 | 7.3144 | 9.9 | 0.00183 | 1.65 | 0.09% | 1.04 | 123 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00025049 | #DIV/0! | #DIV/0! | #DIV/0! | 27 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1820.28 | 0.023158 | 45.2 | 6.7231 | 9.6 | 0.00155 | 2.05 | 0.11% | 0.78 | 120 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00023024 | #DIV/0! | #DIV/0! | #DIV/0! | 28 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
1871.69 | 0.022618 | 92.2 | 9.6021 | 12.1 | 0.00316 | 1.66 | 0.09% | 1.19 | 181 | 82-Br | 127080 | 5.4544e-06 | 0.00025 | 558.4139 | 1165.0614 | 0.00032884 | 58.1555 | 1260.4026 | 1076966.5905 | 29 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [9 empty] | 0.94631 | 55.033
2614.01 | 0.017044 | 157.6 | 12.5539 | 13.5 | 0.0054 | 2.48 | 0.1% | 1.02 | 196 |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.00042993 | #DIV/0! | #DIV/0! | #DIV/0! | 30 |  |  |  | 0 | [9 empty] | #DIV/0! | #DIV/0!
2751.11 | 0.016322 | 305.6 | 17.4814 | 18 | 0.0105 | 3.33 | 0.12% | 1.01 | 332 | 24-Na | 53852.4 | 1.2871e-05 | 0.9994 | 0.64159 | 1.3386 | 0.00059868 | 0.036701 | 1.6062 | 13303059.7373 | 31 | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [9 empty] | 0.96904 | 0.035565

## Sample 3
Centroid | Efficiency | Net_Area | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | Error CPS | Activity Error | cps/g | cps/g (corrected) | cps/g @t0 | ROI | A | I.A. | x-section (thermal) | x-section (corrected) | Live Time | Real Time | Dead Time | Sample ID/Type | Sample Mass | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  |  |  | 1/(s*g) |  |  | ID# |  |  |  |  | (s) | (s) | (%) |  | (g) |  |  | (s)
92.85 | 0.28795 | 319.6 | 84.2 | 0.01095 | 0.846 | 0.92% | 0.86 | 11983 |  |  | #DIV/0! |  | #DIV/0! | 0.00061224 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 |  |  |  | 0 | 29200 | 29215 | 0.05 | 3/UCB 064 Fish | 0.3627 | 3/29/2016 - 2:52:50 PM | 4/22/16 - 15:55:44 | 2077374 | #DIV/0! | #DIV/0!
136.29 | 0.20804 | 230.4 | 80.8 | 0.007889 | 1.1 | 0.81% | 1.11 | 11974 |  |  | #DIV/0! |  | #DIV/0! | 0.00051983 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
185.92 | 0.15992 | 271.8 | 53.4 | 0.009309 | 0.807 | 0.44% | 1.13 | 4203 |  |  | #DIV/0! |  | #DIV/0! | 0.0005646 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
238.69 | 0.12942 | 382.2 | 53.5 | 0.01309 | 1.49 | 0.63% | 0.8 | 2721 |  |  | #DIV/0! |  | #DIV/0! | 0.00066952 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
264.68 | 0.11857 | 237.1 | 44.4 | 0.00812 | 1.16 | 0.44% | 1.13 | 2890 | 75-Se | 10348300.8 | 6.6982e-08 | 0.589 | 0.11626 | 0.00052733 | 0.0075505 | 0.32055 | 0.32086 | 0.36877 | 5 | 74 | 0.0087 | 5.9198e-23 | 4.1305e-23 | [8 empty] | 0.00018826 | 1.4215e-06
279.38 | 0.11327 | 203.2 | 38.1 | 0.00696 | 0.944 | 0.34% | 1.04 | 2375 | 203-Hg | 4027276.8 | 1.7211e-07 | 0.81 | 0.075849 | 0.00048818 | 0.0053209 | 0.20912 | 0.20965 | 0.29976 | 6 | 202 | 0.2986 | 1.9567e-23 | 1.3653e-23 | [8 empty] | 1.433e-05 | 7.625e-08
338.35 | 0.096308 | 65.5 | 26.8 | 0.002242 | 0.802 | 0.24% | 1.29 | 1114 |  |  | #DIV/0! |  | #DIV/0! | 0.00027716 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
510.65 | 0.06796 | 713.1 | 39.1 | 0.02442 | 2.44 | 0.48% | 1.1 | 1851 | Annihlation |  | #DIV/0! |  | #DIV/0! | 0.00091452 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 8 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
559.06 | 0.062941 | 150 | [6 empty] | 76-As | 93121.92 | 7.4434e-06 | 0.45 | 0.18137 | 0.00041943 | 0.014809 | 0.50005 | 0.55639 | 2889264.3356 |  | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [8 empty] | 0.6947 | 0.010288
582.73 | 0.060769 | 125.7 | 22.1 | 0.004304 | 1.64 | 0.28% | 1.06 | 702 |  |  | #DIV/0! |  | #DIV/0! | 0.00038396 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 9 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
604.58 | 0.058904 | 145.4 | 20.6 | 0.004981 | 1.34 | 0.22% | 1.16 | 551 | 134-Cs | 65247680 | 1.0623e-08 | 0.9762 | 0.086596 | 0.00041295 | 0.0071815 | 0.23876 | 0.23879 | 0.24412 | 10 | 133 | 1 | 3.3074e-23 | 2.3077e-23 | [8 empty] | 2.1992e-05 | 1.5794e-07
609.18 | 0.058527 | 140.5 | 19.7 | 0.00481 | 1.5 | 0.25% | 0.79 | 452 |  |  | #DIV/0! |  | #DIV/0! | 0.00040593 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 11 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
795.65 | 0.046679 | 114.7 | 17.2 | 0.003928 | 1.63 | 0.2% | 0.57 | 395 | 134-Cs | 65247680 | 1.0623e-08 | 0.8553 | 0.098387 | 0.00036677 | 0.0091867 | 0.27126 | 0.27131 | 0.27736 | 12 | 133 | 1 | 3.3074e-23 | 2.3077e-23 | [8 empty] | 2.4987e-05 | 2.2954e-07
911 | 0.041622 | 87.1 | 16.1 | 0.002984 | 2.21 | 0.24% | 0.85 | 344 |  |  | #DIV/0! |  | #DIV/0! | 0.00031961 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 13 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1077.17 | 0.036115 | 153.9 | 15.8 | 0.005271 | 1.96 | 0.18% | 0.83 | 298 | 86-Rb | 1607040 | 4.3132e-07 | 0.09 | 1.6215 | 0.00042485 | 0.13071 | 4.4707 | 4.4989 | 11.0215 | 14 | 85 | 0.7217 | 6.7842e-24 | 4.7336e-24 | [8 empty] | 0.00010558 | 1.38e-05
1115.93 | 0.03505 | 453.5 | 24 | 0.01553 | 1.75 | 0.16% | 0.73 | 605 | 65-Zn | 21060000 | 3.2913e-08 | 0.506 | 0.87571 | 0.0007293 | 0.041122 | 2.4144 | 2.4156 | 2.5865 | 15 | 64 | 0.486 | 4.7158e-24 | 3.2904e-24 | [8 empty] | 0.00052228 | 2.1477e-05
1120.45 | 0.03493 | 67 | 12.9 | 0.002295 | 2.13 | 0.19% | 0.67 | 150 |  |  | #DIV/0! |  | #DIV/0! | 0.00028032 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 16 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1173.68 | 0.033583 | 122.1 | 14.5 | 0.004181 | 1.86 | 0.16% | 1.07 | 261 | 60-Co | 166238870.4 | 4.1696e-09 | 0.9997 | 0.12455 | 0.00037842 | 0.011271 | 0.34339 | 0.34341 | 0.3464 | 17 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 2.6967e-05 | 3.0396e-07
1333.46 | 0.030142 | 100 | 12.6 | 0.003424 | 1.88 | 0.14% | 1.54 | 190 | 60-Co | 166238870.4 | 4.1696e-09 | 0.9999 | 0.11363 | 0.00034247 | 0.011363 | 0.31328 | 0.3133 | 0.31603 | 18 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 2.4602e-05 | 2.7955e-07
1368.62 | 0.029485 | 5.4772 | [6 empty] | 24-Na | 53852.4 | 1.2871e-05 | 0.9994 | 0.0063656 | 8.0149e-05 | 0.0027199 | 0.01755 | 0.021057 | 8624188621.1069 |  | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [8 empty] | 628.2147 | 1.7087
1462.27 | 0.027878 | 272.7 | 18.2 | 0.00934 | 2.18 | 0.15% | 1.34 | 360 | 40-K | 40448000000000000 | 1.7137e-17 | 0.11 | 3.0455 | 0.00056554 | 0.18442 | 8.3967 | 8.3975 | 8.3975 | 19 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1767.66 | 0.02374 | 69.8 | 9.6 | 0.002389 | 2.22 | 0.13% | 1.93 | 102 |  |  | #DIV/0! |  | #DIV/0! | 0.00028612 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 20 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2623.52 | 0.016992 | 166.1 | 13.4 | 0.005688 | 2.62 | 0.1% | 1.2 | 184 |  |  | #DIV/0! |  | #DIV/0! | 0.00044137 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2751.11 | 0.016322 | 2.6458 | [6 empty] | 24-Na | 53852.4 | 1.2871e-05 | 0.9994 | 0.0055546 | 5.5705e-05 | 0.0034149 | 0.015315 | 0.018374 | 7525550531.6983 |  | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [8 empty] | 548.1862 | 1.872

## Sample 8
Centroid | Efficiency | Net_Area | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | error cps | Activity error | cps/g | cps/g (corrected) | cps/g @t0 | ROI | A | I.A. | X-section (thermal) | X-Section (Corrected) | Live Time | Real Time | Dead Time | Sample ID/type | Sample Mass | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  |  |  | 1/(s*g) |  |  | ID# |  |  |  |  | (s) | (s) | (%) |  | (g) |  |  | (s)
92.12 | 0.28989 | 854.8 | 94.4 | 0.0293 | 1.17 | 1.28% | 0.63 | 13466 | 82-Br | 127080 | 5.4544e-06 | 0.0072 | 14.0256 | 0.0010013 | 0.47972 | 59.9131 | 64.8175 | 214628.4277 | 1 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | 29200 | 29239 | 0.13 | 8/Sea Palm | 0.2341 | 3/29/2016 - 2:52:50 PM | 4/15/16 - 17:39:00 | 1485968 | 0.18859 | 0.090471
159.29 | 0.1823 | 2182.1 | 86.5 | 0.0747 | 1.1 | 0.7% | 0.86 | 10534 | 47-Sc | 288576 | 2.402e-06 | 0.683 | 0.60019 | 0.0015998 | 0.012849 | 2.5638 | 2.6549 | 94.2211 | 2 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 2.9132 | 0.03743
221.46 | 0.1379 | 2210 | 80.8 | 0.0757 | 1.13 | 0.51% | 0.88 | 8921 | 82-Br | 127080 | 5.4544e-06 | 0.0226 | 24.2847 | 0.00161 | 0.51658 | 103.7363 | 112.2281 | 371617.7065 | 3 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.32653 | 0.16868
273.51 | 0.11532 | 596.4 | 67.3 | 0.0204 | 1.21 | 0.44% | 1.62 | 7136 | 82-Br | 127080 | 5.4544e-06 | 0.00802 | 22.0832 | 0.00083635 | 0.90426 | 94.3325 | 102.0545 | 337930.2144 | 4 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.29693 | 0.2685
514.18 | 0.067565 | 2056.7 | 73.6 | 0.0704 | 1.4 | 0.27% | 1.47 | 6109 | Annihlation |  | #DIV/0! |  | #DIV/0! | 0.0015531 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 5 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
554.49 | 0.063381 | 38873 | 205.8 | 1.33 | 1.48 | 0.27% | 1.67 | 43153 | 82-Br | 127080 | 5.4544e-06 | 0.708 | 29.6672 | 0.0067521 | 0.15047 | 126.7286 | 137.1025 | 453983.6673 | 6 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.39891 | 0.060024
559.29 | 0.06292 | 360.3 | 60.4 | 0.0123 | 1.48 | 0.27% | 1.23 | 3850 | 76-As | 93121 | 7.4435e-06 | 0.45 | 0.4358 | 0.00065005 | 0.022959 | 1.8616 | 2.0715 | 131806.8831 | 7 | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [8 empty] | 0.031692 | 0.00072761
606.2 | 0.05877 | 348.9 | 54.8 | 0.012 | 1.5 | 0.25% | 1.01 | 4701 | 82-Br | 127080 | 5.4544e-06 | 0.012 | 16.9425 | 0.00063969 | 0.90704 | 72.3731 | 78.2975 | 259264.3877 | 8 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.22781 | 0.20663
619.27 | 0.057718 | 19798.9 | 149.6 | 0.678 | 1.48 | 0.24% | 1.38 | 23946 | 82-Br | 127080 | 5.4544e-06 | 0.434 | 27.068 | 0.0048188 | 0.19237 | 115.626 | 125.0911 | 414210.5694 | 9 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.36396 | 0.070015
698.56 | 0.052119 | 10920.1 | 113.1 | 0.374 | 1.58 | 0.23% | 1.33 | 13414 | 82-Br | 127080 | 5.4544e-06 | 0.2849 | 25.1859 | 0.0035787 | 0.24102 | 107.5862 | 116.3931 | 385409.274 | 10 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.33865 | 0.08162
776.72 | 0.047641 | 34846.7 | 192.5 | 1.19 | 1.6 | 0.21% | 1.55 | 37877 | 82-Br | 127080 | 5.4544e-06 | 0.835 | 29.9994 | 0.0063929 | 0.16071 | 128.1478 | 138.6379 | 459067.6095 | 11 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.40337 | 0.064824
828.03 | 0.045128 | 10567.1 | 112 | 0.362 | 1.67 | 0.2% | 1.06 | 13452 | 82-Br | 127080 | 5.4544e-06 | 0.2403 | 33.3711 | 0.0035204 | 0.32463 | 142.5505 | 154.2196 | 510663.148 | 12 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.44871 | 0.14567
952.34 | 0.040086 | 75.8 | 26.7 | 0.0026 | 0.751 | 0.08% | 0.76 | 1258 | 82-Br | 127080 | 5.4544e-06 | 0.00368 | 17.5971 | 0.00029816 | 2.0212 | 75.1692 | 81.3225 | 269280.9816 | 13 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.23661 | 0.47824
1007.95 | 0.038205 | 468.4 | 41.7 | 0.016 | 1.71 | 0.17% | 1.31 | 2437 | 82-Br | 127080 | 5.4544e-06 | 0.01271 | 33.0345 | 0.00074118 | 1.5264 | 141.1126 | 152.6641 | 505512.1619 | 14 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.44418 | 0.67799
1044.26 | 0.037077 | 9675.7 | 105.7 | 0.331 | 1.79 | 0.17% | 0.69 | 11911 | 82-Br | 127080 | 5.4544e-06 | 0.2723 | 32.8208 | 0.0033687 | 0.33366 | 140.1998 | 151.6765 | 502242.1094 | 15 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.44131 | 0.14725
1077.11 | 0.036117 | 802.6 | 48 | 0.0275 | 1.72 | 0.16% | 1.12 | 3209 | 86-Rb | 1609718 | 4.306e-07 | 0.09 | 8.456 | 0.00097021 | 0.29848 | 36.1212 | 36.3491 | 68.9258 | 16 | 85 | 0.7217 | 6.7842e-24 | 4.7336e-24 | [8 empty] | 0.00066135 | 0.0001974
1115.87 | 0.035051 | 286.4 | 38.9 | 0.00981 | 1.61 | 0.14% | 1.28 | 2045 | 65-Zn | 21060000 | 3.2913e-08 | 0.506 | 0.55301 | 0.00057957 | 0.032677 | 2.3623 | 2.3634 | 2.4819 | 17 | 64 | 0.486 | 4.7158e-24 | 3.2904e-24 | [8 empty] | 0.00050115 | 1.6376e-05
1120.58 | 0.034927 | 62.4 | 24.9 | 0.00214 | 0.718 | 0.06% | 1.61 | 968 |  |  | #DIV/0! |  | #DIV/0! | 0.00027053 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 18 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1173.65 | 0.033584 | 2002.6 | 55.6 | 0.0686 | 1.86 | 0.16% | 1.11 | 3645 | 60-Co | 170000000 | 4.0773e-09 | 0.9997 | 2.0427 | 0.0015325 | 0.045647 | 8.7258 | 8.7263 | 8.7794 | 19 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.00069893 | 3.1904e-05
1252.98 | 0.031774 | 1070.8 | 45 | 0.0367 | 2 | 0.16% | 0.69 | 2523 |  |  | #DIV/0! |  | #DIV/0! | 0.0011207 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 20 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1297.13 | 0.030856 | 278.5 | 31.6 | 0.00954 | 1.89 | 0.15% | 0.7 | 1271 | 47-Ca | 391824 | 1.769e-06 | 0.71 | 0.43536 | 0.00057152 | 0.026088 | 1.8597 | 1.9082 | 26.4403 | 21 | 46 | 4e-05 |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1317.78 | 0.030446 | 9146.1 | 100.1 | 0.313 | 1.95 | 0.15% | 0.91 | 10236 | 82-Br | 127080 | 5.4544e-06 | 0.2648 | 38.8515 | 0.0032752 | 0.40625 | 165.9613 | 179.5468 | 594528.0642 | 22 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.5224 | 0.21222
1331.09 | 0.030188 | 2237.7 | 55.1 | 0.0766 | 2.11 | 0.16% | 1.01 | 3434 | 60-Co | 170000000 | 4.0773e-09 | 0.9999 | 2.5388 | 0.00162 | 0.05367 | 10.845 | 10.8457 | 10.9116 | 23 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.00086868 | 4.6622e-05
1368.93 | 0.029479 | 411.3 | 31.2 | 0.0141 | 1.88 | 0.14% | 1.07 | 1312 | 24-Na | 52524 | 1.3197e-05 | 1 | 0.47781 | 0.00069454 | 0.02356 | 2.0411 | 2.4601 | 808087976.676 | 24 | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [8 empty] | 57.4118 | 1.3526
1395.9 | 0.028996 | 790.6 | 37.3 | 0.0271 | 2.05 | 0.15% | 1.19 | 1719 |  |  | #DIV/0! |  | #DIV/0! | 0.00096293 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 25 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1461.05 | 0.027897 | 365.3 | 29 | 0.0125 | 2.37 | 0.16% | 1.08 | 881 | 40-K | 40400000000000000 | 1.7157e-17 | 0.11 | 4.0767 | 0.00065455 | 0.2133 | 17.4145 | 17.4126 | 17.4126 | 26 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1475.2 | 0.027671 | 5097.3 | 75 | 0.175 | 2.04 | 0.14% | 1.34 | 5862 | 82-Br | 127080 | 5.4544e-06 | 0.1632 | 38.6563 | 0.002445 | 0.54144 | 165.1272 | 178.6444 | 591540.1191 | 27 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.51977 | 0.28143
1604.53 | 0.025769 | 746.2 | 34.6 | 0.0256 | 2.09 | 0.13% | 0.84 | 1433 |  |  | #DIV/0! |  | #DIV/0! | 0.0009355 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 28 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1650.84 | 0.025156 | 213 | 25.4 | 0.00729 | 2.2 | 0.13% | 1.12 | 775 | 82-Br | 127080 | 5.4544e-06 | 0.00743 | 39.0274 | 0.00049981 | 2.6741 | 166.7127 | 180.3597 | 597220.0223 | 29 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.52477 | 1.4033
1820.74 | 0.023153 | 727.8 | 31.1 | 0.0249 | 2.24 | 0.12% | 0.7 | 990 |  |  | #DIV/0! |  | #DIV/0! | 0.0009239 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 30 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1872 | 0.022615 | 1372.2 | 40.2 | 0.047 | 2.2 | 0.12% | 0.8 | 1733 | 82-Br | 127080 | 5.4544e-06 | 0.00025 | 8311.9641 | 0.0012686 | 224.3856 | 35506.0404 | 38412.5461 | 127194374.9157 | 31 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 111.7631 | 25078.0293
2029.37 | 0.02112 | 429.3 | 22.9 | 0.0147 | 2.16 | 0.11% | 1.05 | 577 |  |  | #DIV/0! |  | #DIV/0! | 0.00070957 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 32 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2094.2 | 0.020565 | 953.9 | 32.4 | 0.0327 | 2.46 | 0.12% | 0.84 | 1105 |  |  | #DIV/0! |  | #DIV/0! | 0.0010577 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 33 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2614.78 | 0.01704 | 159.5 | 14 | 0.00546 | 2.51 | 0.1% | 0.93 | 220 |  |  | #DIV/0! |  | #DIV/0! | 0.00043251 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 34 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2648.47 | 0.016856 | 133 | 12.3 | 0.00456 | 2.68 | 0.1% | 0.82 | 163 |  |  | #DIV/0! |  | #DIV/0! | 0.00039495 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 35 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2751.88 | 0.016318 | 212.7 | 15.3 | 0.00729 | 3.85 | 0.14% | 1.12 | 244 | 24-Na | 52524 | 1.3197e-05 | 0.99944 | 0.44664 | 0.00049946 | 0.030625 | 1.9079 | 2.2996 | 755373886.1938 | 36 | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [8 empty] | 53.6667 | 1.6435

## Sample 10
Centroid | Efficiency | Net_Area | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | error cps | Activity error | CPS/g | CPS/g (corrected) | cps/g @t0 | ROI | A | I.A. | x-section (thermal) | x-section (corrected) | Live Time | Real Time | Dead Time | Sample ID/Type | Sample Mass | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  |  |  | 1/(s*g) |  |  | ID# |  |  |  |  | (s) | (s) | (%) |  | (g) |  |  | (s)
159.26 | 0.18233 | 1382 | 60.5 | 0.0473 | 1 | 0.63% | 1.17 | 4913 | 47-Sc | 288576 | 2.402e-06 | 0.683 | 0.38006 | 0.0012731 | 0.010224 | 1.8477 | 1.9132 | 95.4945 | 1 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | 29200 | 29213 | 0.04 | 10/Wakame | 0.2057 | 3/29/2016 - 2:52:50 PM | 4/17/16 - 11:05:23 | 1627953 | 2.9526 | 0.030186
185.6 | 0.16016 | 280.7 | 53.4 | 0.00961 | 1.37 | 0.74% | 1 | 4303 |  |  | #DIV/0! |  | #DIV/0! | 0.00057377 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
221.45 | 0.13791 | 305.5 | 43.8 | 0.0105 | 1.14 | 0.52% | 0.93 | 2770 | 82-Br | 127080 | 5.4544e-06 | 0.0226 | 3.3569 | 0.00059858 | 0.19206 | 16.3192 | 17.6539 | 126815.7437 | 3 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.11143 | 0.021401
238.62 | 0.12945 | 268.1 | 40.6 | 0.00918 | 1.05 | 0.44% | 1.08 | 2490 |  |  | #DIV/0! |  | #DIV/0! | 0.00056075 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
351.92 | 0.093153 | 124.3 | 29.3 | 0.00426 | 1.02 | 0.29% | 0.8 | 1214 |  |  | #DIV/0! |  | #DIV/0! | 0.00038181 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 5 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
411.78 | 0.081548 | 196.4 | 30.6 | 0.00673 | 1.31 | 0.32% | 1.12 | 1440 |  |  | #DIV/0! |  | #DIV/0! | 0.00047994 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
511.14 | 0.067905 | 715.4 | 43.5 | 0.0245 | 2.8 | 0.55% | 0.95 | 1679 | Annihlation |  | #DIV/0! |  | #DIV/0! | 0.00091599 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
514.12 | 0.067571 | 1898.3 | 53.7 | 0.065 | 1.23 | 0.24% | 1.06 | 2924 |  |  | #DIV/0! |  | #DIV/0! | 0.0014921 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 8 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
554.47 | 0.063382 | 4339.8 | 70.1 | 0.149 | 1.31 | 0.24% | 1.4 | 5259 | 82-Br | 127080 | 5.4544e-06 | 0.708 | 3.312 | 0.0022561 | 0.050275 | 16.1009 | 17.4177 | 125118.9415 | 9 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.10994 | 0.0055272
559.2 | 0.062928 | 16.5227 | [6 empty] | 76-As | 93121 | 7.4435e-06 | 0.45 | 0.019982 | 0.00013921 | 0.0049159 | 0.097142 | 0.10809 | 19788.5529 |  | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [8 empty] | 0.004758 | 2.339e-05
583.42 | 0.060708 | 90.2 | 21.6 | 0.00309 | 1.04 | 0.18% | 1.41 | 573 |  |  | #DIV/0! |  | #DIV/0! | 0.00032525 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 10 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
609.52 | 0.058499 | 76.6 | 21.7 | 0.00262 | 1.07 | 0.18% | 1.04 | 803 |  |  | #DIV/0! |  | #DIV/0! | 0.00029973 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 11 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
619.24 | 0.05772 | 2353.2 | 53.3 | 0.0806 | 1.4 | 0.23% | 1.37 | 3066 | 82-Br | 127080 | 5.4544e-06 | 0.434 | 3.217 | 0.0016613 | 0.066317 | 15.6395 | 16.9186 | 121533.3804 | 12 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.10679 | 0.007082
698.54 | 0.05212 | 1219.9 | 40.1 | 0.0418 | 1.4 | 0.2% | 0.84 | 1805 | 82-Br | 127080 | 5.4544e-06 | 0.2849 | 2.8135 | 0.0011961 | 0.080553 | 13.6776 | 14.7962 | 106287.8663 | 13 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.093393 | 0.0075231
776.75 | 0.047639 | 3962.8 | 66 | 0.136 | 1.56 | 0.2% | 1.1 | 4510 | 82-Br | 127080 | 5.4544e-06 | 0.835 | 3.4117 | 0.0021558 | 0.054196 | 16.5857 | 17.9421 | 128886.0163 | 14 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.11325 | 0.0061377
828.02 | 0.045129 | 1208.5 | 39.6 | 0.0414 | 1.58 | 0.19% | 1.22 | 1735 | 82-Br | 127080 | 5.4544e-06 | 0.2403 | 3.8164 | 0.0011905 | 0.10978 | 18.5534 | 20.0707 | 144176.7917 | 15 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.12669 | 0.013908
889.49 | 0.042473 | 175 | 21.5 | 0.00599 | 1.43 | 0.16% | 0.74 | 652 |  |  | #DIV/0! |  | #DIV/0! | 0.00045304 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 16 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
911.51 | 0.041602 | 94.4 | 19.1 | 0.00323 | 1.68 | 0.18% | 0.95 | 507 |  |  | #DIV/0! |  | #DIV/0! | 0.00033274 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 17 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
969.6 | 0.039481 | 44.5 | 16.2 | 0.00153 | 1.22 | 0.13% | 0.96 | 319 |  |  | #DIV/0! |  | #DIV/0! | 0.00022845 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 18 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1044.27 | 0.037077 | 1148.5 | 37.3 | 0.0393 | 1.87 | 0.18% | 1.06 | 1431 | 82-Br | 127080 | 5.4544e-06 | 0.2723 | 3.8958 | 0.0011606 | 0.11496 | 18.9394 | 20.4884 | 147176.9145 | 19 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.12932 | 0.014866
1077.01 | 0.03612 | 545.7 | 28.2 | 0.0187 | 1.74 | 0.16% | 1.16 | 922 | 86-Rb | 1609718 | 4.306e-07 | 0.09 | 5.7489 | 0.00080001 | 0.2461 | 27.948 | 28.1241 | 56.6917 | 20 | 85 | 0.7217 | 6.7842e-24 | 4.7336e-24 | [8 empty] | 0.00054396 | 0.00013387
1115.79 | 0.035054 | 296.9 | 25 | 0.0102 | 2.03 | 0.18% | 1.04 | 679 | 65-Zn | 21060000 | 3.2913e-08 | 0.506 | 0.57325 | 0.0005901 | 0.033269 | 2.7868 | 2.7882 | 2.9416 | 21 | 64 | 0.486 | 4.7158e-24 | 3.2904e-24 | [8 empty] | 0.00059399 | 1.9761e-05
1120.79 | 0.034921 | 196.3 | 21.9 | 0.00672 | 1.87 | 0.17% | 1.17 | 524 |  |  | #DIV/0! |  | #DIV/0! | 0.00047982 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 22 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1173.6 | 0.033585 | 395.8 | 24.3 | 0.0136 | 1.86 | 0.16% | 0.74 | 690 | 60-Co | 170000000 | 4.0773e-09 | 0.9997 | 0.40371 | 0.00068133 | 0.020292 | 1.9626 | 1.9627 | 1.9758 | 23 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.0001573 | 3.1919e-06
1252.76 | 0.031779 | 103.5 | 15.9 | 0.00354 | 1.64 | 0.13% | 0.91 | 358 |  |  | #DIV/0! |  | #DIV/0! | 0.00034841 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 24 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1297.31 | 0.030852 | 157.9 | 18 | 0.00541 | 2.05 | 0.16% | 0.8 | 380 | 47-Ca | 391910.4 | 1.7686e-06 | 0.71 | 0.24686 | 0.00043034 | 0.019646 | 1.2001 | 1.2314 | 21.9198 | 25 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 0.92041 | 0.018082
1317.73 | 0.030447 | 1066.1 | 35.1 | 0.0365 | 2.03 | 0.15% | 0.86 | 1309 | 82-Br | 127080 | 5.4544e-06 | 0.2648 | 4.5285 | 0.0011182 | 0.13869 | 22.0152 | 23.8157 | 171078.2679 | 26 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.15032 | 0.020849
1331.53 | 0.030179 | 377.4 | 23.4 | 0.0129 | 2.88 | 0.22% | 0.99 | 619 | 60-Co | 170000000 | 4.0773e-09 | 0.9999 | 0.42831 | 0.0006653 | 0.022047 | 2.0822 | 2.0823 | 2.0962 | 27 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.00016688 | 3.6792e-06
1395.72 | 0.028999 | 85 | 13.9 | 0.00291 | 1.88 | 0.14% | 1.1 | 247 |  | 93121 | 7.4435e-06 |  | #DIV/0! | 0.00031574 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 28 | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [8 empty] | #DIV/0! | #DIV/0!
1461.1 | 0.027897 | 289.8 | 20 | 0.00992 | 2.08 | 0.14% | 0.81 | 460 | 40-K | 40400000000000000 | 1.7157e-17 | 0.11 | 3.2342 | 0.000583 | 0.18999 | 15.7231 | 15.7214 | 15.7214 | 29 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1475.2 | 0.027671 | 588.1 | 26.4 | 0.0201 | 2.01 | 0.14% | 0.76 | 754 | 82-Br | 127080 | 5.4544e-06 | 0.1632 | 4.46 | 0.00083051 | 0.18391 | 21.6819 | 23.4551 | 168488.2553 | 30 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.14805 | 0.027227
No Fit | #VALUE! | No Fit | NA | NA | NA | NA | NA | 156 |  |  | #DIV/0! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 31 |  |  |  | 0 | [8 empty] | #VALUE! | #VALUE!
1764.76 | 0.023773 | 63 | 10.5 | 0.00216 | 1.91 | 0.11% | 0.84 | 132 |  |  | #DIV/0! |  | #DIV/0! | 0.00027182 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 32 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1820.99 | 0.02315 | 85.7 | 11.9 | 0.00293 | 2.16 | 0.12% | 1 | 173 |  |  | #DIV/0! |  | #DIV/0! | 0.00031704 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 33 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1872.07 | 0.022614 | 174.3 | 15.1 | 0.00597 | 2.19 | 0.12% | 1 | 257 | 82-Br | 127080 | 5.4544e-06 | 0.00025 | 1055.8382 | 0.00045213 | 79.974 | 5132.9034 | 5552.6969 | 39887431.9388 | 34 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 35.0483 | 2802.9498
2094.09 | 0.020566 | 111.6 | 12.5 | 0.00382 | 2.31 | 0.11% | 1.01 | 177 |  | 93121 | 7.4435e-06 | 0.055 | 3.3788 | 0.00036178 | 0.31984 | 16.4261 | 18.2766 | 3346111.4286 | 35 | 75 | 1 | 9.9734e-24 | 6.9588e-24 | [8 empty] | 0.80454 | 0.25733
2614.69 | 0.01704 | 154.3 | 13.4 | 0.00528 | 2.88 | 0.11% | 0.71 | 190 |  |  | #DIV/0! |  | #DIV/0! | 0.0004254 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 36 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2751.88 | 0.016318 | 6.1644 | [6 empty] | 24-Na | 52524 | 1.3197e-05 | 0.99944 | 0.012944 | 8.5028e-05 | 0.0052136 | 0.062929 | 0.075836 | 162233344.3828 |  | 23 | 1 | 5.8383e-24 | 4.0736e-24 | [8 empty] | 11.5261 | 0.060093

## Sample 12
Centroid | Efficiency | Net_Area | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | error cps | activity error | cps/g | cps/g (corrected) | cps/g @t0 | ROI | A | I.A. | X-section (thermal) | X-section (corrected) | Live time | Real Time | Dead Time | Sample ID/Type | Sample Mass | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  |  |  | 1/(s*g) |  |  | ID# |  |  |  |  | (s) | (s) | (%) |  | (g) |  |  | (s)
80.81 | 0.3239 | 1895.1 | 104.5 | 0.0649 | 0.913 | 1.13% | 0.86 | 16052 |  |  | #DIV/0! |  | #DIV/0! | 0.0014908 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 |  |  |  | 0 | 29200 | 29245 | 0.15 | Sea shell 2 | 0.836 | 3/29/2016 - 2:52:50 PM | 4/17/16 - 23:35:35 | 1680165 | #DIV/0! | #DIV/0!
90.96 | 0.29301 | 1505.2 | 111.8 | 0.0516 | 1.06 | 1.17% | 1.27 | 18987 | 82-Br | 127080 | 5.4544e-06 |  | #DIV/0! | 0.0013287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | #DIV/0! | #DIV/0!
99.34 | 0.27194 | 4030.9 | 132.8 | 0.138 | 1.1 | 1.11% | 1.19 | 22951 |  |  | #DIV/0! |  | #DIV/0! | 0.0021743 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
103.51 | 0.26263 | 8139.7 | 151.7 | 0.279 | 1.23 | 1.19% | 1.23 | 20772 |  |  | #DIV/0! |  | #DIV/0! | 0.0030897 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
105.99 | 0.25742 | 6725.8 | 138.4 | 0.23 | 0.999 | 0.94% | 0.76 | 20158 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.272 | 3.2897 | 0.0028086 | 0.040113 | 3.9351 | 4.1342 | 1260.5415 | 5 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
112.99 | 0.24384 | 962.7 | 124.4 | 0.033 | 1.36 | 1.21% | 1.2 | 13820 |  |  | #DIV/0! |  | #DIV/0! | 0.0010626 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
116.89 | 0.23693 | 2636.6 | 145.1 | 0.0903 | 1.77 | 1.51% | 1.52 | 18057 |  |  | #DIV/0! |  | #DIV/0! | 0.0017585 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
121.56 | 0.2292 | 2643 | 131.5 | 0.0905 | 1.4 | 1.15% | 2.97 | 14401 |  |  | #DIV/0! |  | #DIV/0! | 0.0017606 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 8 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
123.61 | 0.22598 | 838.4 | 103.1 | 0.0287 | 0.931 | 0.75% | 1.59 | 12679 | 131-Ba | 993600 | 6.9761e-07 | 0.2897 | 0.43859 | 0.00099161 | 0.015147 | 0.52463 | 0.52999 | 1.7112 | 9 | 130 | 0.00106 | 9.6839e-24 | 6.7569e-24 | [8 empty] | 0.0073935 | 0.00011199
140.44 | 0.20282 | 2081.3 | 115.6 | 0.0713 | 1.09 | 0.78% | 1.06 | 19612 |  |  | #DIV/0! |  | #DIV/0! | 0.0015624 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 10 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
145.36 | 0.19699 | 7205.9 | 135.2 | 0.247 | 1.06 | 0.73% | 1.22 | 24890 | 141-Ce(?) |  | #DIV/0! |  | #DIV/0! | 0.0029071 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 11 | 140 |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
159.31 | 0.18228 | 199693.1 | 458.4 | 6.84 | 1.09 | 0.68% | 27 | 222600 | 47-Sc | 288576 | 2.402e-06 | 0.683 | 54.932 | 0.015304 | 0.12293 | 65.7081 | 68.043 | 3849.9831 | 12 | 46 |  | 8.5127e-24 | 5.9397e-24 | [8 empty] | #DIV/0! | #DIV/0!
162.64 | 0.17911 | 809.5 | 81 | 0.0277 | 1.08 | 0.67% | 0.86 | 6266 |  |  | #DIV/0! |  | #DIV/0! | 0.00097437 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 13 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
177.13 | 0.16662 | 731.4 | 81.5 | 0.0251 | 1.2 | 0.68% | 1.28 | 10059 |  |  | #DIV/0! |  | #DIV/0! | 0.00092618 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 14 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
197.98 | 0.15163 | 1285.9 | 88.4 | 0.044 | 1.53 | 0.77% | 1.07 | 10470 |  |  | #DIV/0! |  | #DIV/0! | 0.0012281 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 15 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
209 | 0.14483 | 3059 | 114.7 | 0.105 | 2.43 | 1.16% | 1.81 | 17254 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.0342 | 21.1495 | 0.0018941 | 0.38239 | 25.2985 | 26.5788 | 8104.0111 | 16 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
216 | 0.14085 | 821.2 | 73.8 | 0.0281 | 1.16 | 0.54% | 0.86 | 7977 | 131-Ba | 993600 | 6.9761e-07 | 0.1966 | 1.0156 | 0.00098139 | 0.035441 | 1.2149 | 1.2273 | 3.9626 | 17 | 130 | 0.00106 | 9.6839e-24 | 6.7569e-24 | [8 empty] | 0.017121 | 0.00060678
228.2 | 0.13444 | 5526 | 100 | 0.189 | 1.17 | 0.51% | 1.22 | 12642 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.1076 | 13.082 | 0.0025458 | 0.17598 | 15.6484 | 16.4403 | 5012.7346 | 18 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
244.84 | 0.12666 | 337.7 | 63.1 | 0.0116 | 1.09 | 0.45% | 1.01 | 5999 |  |  | #DIV/0! |  | #DIV/0! | 0.00062934 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 19 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
277.6 | 0.11388 | 3904.3 | 86.1 | 0.134 | 1.2 | 0.43% | 1.46 | 9354 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.1438 | 8.1648 | 0.0021399 | 0.13067 | 9.7665 | 10.2607 | 3128.5517 | 20 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
282.58 | 0.11218 | 225 | 53.5 | 0.00771 | 0.795 | 0.28% | 1.8 | 4986 |  |  | #DIV/0! |  | #DIV/0! | 0.0005137 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
284.94 | 0.11139 | 125.6 | 44.8 | 0.004301 | 0.571 | 0.2% | 0.81 | 5547 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.0079 | 4.8879 | 0.00038381 | 0.43614 | 5.8468 | 6.1427 | 1872.9296 | 22 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
298.6 | 0.10706 | 539.7 | 59.6 | 0.0185 | 1.03 | 0.35% | 1.03 | 5508 |  |  | #DIV/0! |  | #DIV/0! | 0.0007956 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 23 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
304.81 | 0.10521 | 342 | 66.1 | 0.0117 | 1.44 | 0.47% | 1.03 | 4722 |  |  | #DIV/0! |  | #DIV/0! | 0.00063333 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 24 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
307.78 | 0.10435 | 214.5 | 51.5 | 0.00735 | 0.825 | 0.27% | 1.46 | 3930 |  |  | #DIV/0! |  | #DIV/0! | 0.00050157 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 25 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
311.71 | 0.10324 | 215.5 | 59.1 | 0.00738 | 1.18 | 0.38% | 1.51 | 4319 |  |  | #DIV/0! |  | #DIV/0! | 0.00050274 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 26 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
315.83 | 0.10209 | 537.4 | 61.7 | 0.0184 | 1.19 | 0.38% | 1.61 | 4466 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.016 | 11.2667 | 0.0007939 | 0.48601 | 13.4769 | 14.159 | 4317.153 | 27 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
320.13 | 0.10093 | 6021.5 | 97.1 | 0.206 | 1.23 | 0.39% | 1.46 | 10604 | Cr-51 | 2393280 | 2.8962e-07 | 0.1 | 20.4315 | 0.0026575 | 0.2633 | 24.4395 | 24.5432 | 39.9268 | 28 | 50 | 0.04345 | 1.7863e-23 | 1.2464e-23 | [8 empty] | 0.0021136 | 0.00055649
328.81 | 0.098669 | 1725.7 | 72.1 | 0.0591 | 1.27 | 0.39% | 1.29 | 7068 | 140-La | 144987.84 | 4.7807e-06 | 0.203 | 2.9506 | 0.0014227 | 0.071027 | 3.5294 | 3.7819 | 11644.8989 | 29 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.004188 | 0.00029746
334.33 | 0.097288 | 590.9 | 61.6 | 0.0202 | 1.17 | 0.35% | 0.87 | 5711 | 239-Np(?) | 203601.6 | 3.4044e-06 | 0.027 | 7.7039 | 0.00083248 | 0.31692 | 9.2152 | 9.6815 | 2951.9534 | 30 | 238 |  | 2.7095e-21 | 1.8905e-21 | [8 empty] | #DIV/0! | #DIV/0!
344.36 | 0.094882 | 1571.8 | 68.2 | 0.0538 | 1.36 | 0.4% | 1.11 | 5662 |  |  | #DIV/0! |  | #DIV/0! | 0.0013577 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 31 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
364.54 | 0.090414 | 3348.2 | 75.9 | 0.115 | 1.29 | 0.35% | 0.84 | 7139 |  |  | #DIV/0! |  | #DIV/0! | 0.0019816 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 32 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
383.79 | 0.086558 | 186.9 | 45.2 | 0.0064 | 1.13 | 0.3% | 0.96 | 3184 |  |  | #DIV/0! |  | #DIV/0! | 0.00046819 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 33 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
396.36 | 0.084227 | 901.5 | 51.7 | 0.0309 | 1.16 | 0.29% | 0.67 | 3677 |  |  | #DIV/0! |  | #DIV/0! | 0.0010283 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 34 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
423.77 | 0.079589 | 409.3 | 49.7 | 0.014 | 1.78 | 0.42% | 1.48 | 2263 |  |  | #DIV/0! |  | #DIV/0! | 0.00069285 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 35 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
432.82 | 0.078177 | 221.4 | 45.1 | 0.00758 | 1.43 | 0.33% | 0.65 | 2998 | 140-La | 144987.84 | 4.7807e-06 | 0.0029 | 33.4438 | 0.00050957 | 2.2476 | 40.0045 | 42.8662 | 131991.4958 | 36 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.04747 | 0.1067
487.19 | 0.070722 | 3234.2 | 72.5 | 0.111 | 1.46 | 0.3% | 1.59 | 4842 | 140-La | 144987.84 | 4.7807e-06 | 0.455 | 3.4421 | 0.0019476 | 0.060525 | 4.1173 | 4.4118 | 13584.6991 | 37 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0048857 | 0.0002957
489.28 | 0.070466 | 2852.4 | 78.7 | 0.0977 | 1.16 | 0.24% | 4.92 | 5634 | 47-Ca | 391910.4 | 1.7686e-06 | 0.062 | 22.3592 | 0.001829 | 0.41865 | 26.7455 | 27.4432 | 535.7773 | 38 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 22.4973 | 9.4185
496.99 | 0.069539 | 2676.2 | 67.8 | 0.0917 | 1.58 | 0.32% | 1.12 | 5569 | 131-Ba | 993600 | 6.9761e-07 | 0.47 | 2.8042 | 0.0017716 | 0.054206 | 3.3543 | 3.3887 | 10.9412 | 39 | 130 | 0.00106 | 9.6839e-24 | 6.7569e-24 | [8 empty] | 0.047272 | 0.0025624
514.15 | 0.067568 | 39565.1 | 203.9 | 1.36 | 1.4 | 0.27% | 6.28 | 43101 | Annihlation |  | #DIV/0! |  | #DIV/0! | 0.006812 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 40 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
522.49 | 0.066653 | 152 | 38.1 | 0.00521 | 1.37 | 0.26% | 0.81 | 2186 |  |  | #DIV/0! |  | #DIV/0! | 0.00042222 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 41 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
531.15 | 0.065732 | 466 | 44.2 | 0.016 | 1.55 | 0.29% | 1.27 | 2694 | 47-Ca | 391910.4 | 1.7686e-06 | 0.00091 | 266.8005 | 0.00073928 | 12.3593 | 319.1394 | 327.4641 | 6393.1356 | 42 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 268.4476 | 3317.8227
537.47 | 0.065076 | 1676 | 54.6 | 0.0574 | 1.42 | 0.26% | 1.27 | 3627 |  |  | #DIV/0! |  | #DIV/0! | 0.001402 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 43 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
554.84 | 0.063347 | 168.1 | 36 | 0.00576 | 1.21 | 0.22% | 1.14 | 1917 | 82-Br | 127080 | 5.4544e-06 | 0.708 | 0.12836 | 0.00044402 | 0.0099002 | 0.15354 | 0.16611 | 1586.3986 | 44 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.0013939 | 1.38e-05
583.27 | 0.060721 | 143.1 | 37 | 0.0049 | 1.4 | 0.24% | 0.96 | 2051 |  |  | #DIV/0! |  | #DIV/0! | 0.00040967 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 45 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
610.17 | 0.058446 | 308.7 | 46.5 | 0.0106 | 2.16 | 0.36% | 0.9 | 2554 |  |  | #DIV/0! |  | #DIV/0! | 0.00060171 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 46 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
636.85 | 0.056366 | 154.7 | 36.3 | 0.0053 | 1.37 | 0.22% | 1.44 | 2017 |  |  | #DIV/0! |  | #DIV/0! | 0.00042595 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 47 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
667.94 | 0.054135 | 674.4 | 43.7 | 0.0231 | 1.46 | 0.22% | 0.87 | 2688 |  |  | #DIV/0! |  | #DIV/0! | 0.00088936 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 48 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
724.31 | 0.050545 | 1108.7 | 48.1 | 0.038 | 1.62 | 0.22% | 0.75 | 2994 | 95-Zr | 5564160 | 1.2457e-07 | 0.4417 | 1.7007 | 0.0011403 | 0.051076 | 2.0343 | 2.038 | 2.5125 | 49 | 94 | 0.1738 | 8.7085e-24 | 6.0763e-24 | [8 empty] | 0.00029811 | 1.5227e-05
751.85 | 0.048972 | 213.3 | 30.8 | 0.0073 | 1.02 | 0.14% | 0.58 | 1443 | 140-La | 144987.84 | 4.7807e-06 | 0.0433 | 3.4448 | 0.00050016 | 0.23587 | 4.1206 | 4.4154 | 13595.6545 | 50 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0048896 | 0.0011533
757.05 | 0.048687 | 1281.1 | 48.5 | 0.0439 | 1.55 | 0.21% | 1.04 | 2804 | 95-Zr | 5564160 | 1.2457e-07 | 0.54 | 1.6687 | 0.0012258 | 0.046623 | 1.9961 | 1.9997 | 2.4653 | 51 | 94 | 0.1738 | 8.7085e-24 | 6.0763e-24 | [8 empty] | 0.00029252 | 1.3638e-05
766.09 | 0.0482 | 828.3 | 45.2 | 0.0284 | 1.83 | 0.24% | 1.03 | 2616 | 47-Ca | 391910.4 | 1.7686e-06 | 0.00191 | 308.1218 | 0.00098562 | 10.706 | 368.5668 | 378.1808 | 7383.2864 | 52 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 310.024 | 3319.1272
772.81 | 0.047845 | 573.6 | 39.7 | 0.0196 | 1.63 | 0.21% | 1.15 | 1750 |  |  | #DIV/0! |  | #DIV/0! | 0.0008202 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 53 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
778.96 | 0.047525 | 436.5 | 41.9 | 0.015 | 2.03 | 0.26% | 1.36 | 1885 |  |  | #DIV/0! |  | #DIV/0! | 0.0007155 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 54 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
808.11 | 0.046069 | 2491.4 | 60 | 0.0853 | 1.6 | 0.2% | 0.81 | 4156 | 47-Ca | 391910.4 | 1.7686e-06 | 0.062 | 29.8719 | 0.0017094 | 0.59847 | 35.7319 | 36.664 | 715.7967 | 55 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 30.0563 | 17.9877
816.08 | 0.045687 | 1423.9 | 50.6 | 0.0488 | 1.65 | 0.2% | 1.13 | 3129 | 140-La | 144987.84 | 4.7807e-06 | 0.2328 | 4.5848 | 0.0012923 | 0.1215 | 5.4842 | 5.8765 | 18094.566 | 56 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0065076 | 0.00079068
868.06 | 0.043359 | 347.6 | 40.3 | 0.0119 | 1.86 | 0.21% | 0.78 | 2302 | 140-La | 144987.84 | 4.7807e-06 | 0.055 | 4.9917 | 0.00063849 | 0.26774 | 5.971 | 6.3981 | 19700.7492 | 57 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0070853 | 0.001897
879.7 | 0.042873 | 350.1 | 40.1 | 0.012 | 1.75 | 0.2% | 0.88 | 2213 |  |  | #DIV/0! |  | #DIV/0! | 0.00064079 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 58 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
889.54 | 0.042471 | 7610.2 | 94.3 | 0.261 | 1.64 | 0.18% | 1.39 | 9596 | 46-Sc | 7239456 | 9.5746e-08 | 0.99984 | 6.1375 | 0.0029876 | 0.070355 | 7.3415 | 7.3518 | 8.6349 | 59 | 45 | 1 | 4.9652e-23 | 3.4644e-23 | [8 empty] | 1.9453e-05 | 1.3686e-06
925.51 | 0.041069 | 409.9 | 39.9 | 0.014 | 1.89 | 0.2% | 0.77 | 2026 | 140-La | 144987.84 | 4.7807e-06 | 0.069 | 4.9538 | 0.00069336 | 0.24468 | 5.9256 | 6.3495 | 19550.9409 | 60 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0070314 | 0.0017204
964.75 | 0.039649 | 902.7 | 59.3 | 0.0309 | 4.37 | 0.45% | 1.09 | 3922 |  |  | #DIV/0! |  | #DIV/0! | 0.0010289 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 61 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1086.1 | 0.035863 | 313.3 | 36.5 | 0.0107 | 1.6 | 0.15% | 1.41 | 1774 |  |  | #DIV/0! |  | #DIV/0! | 0.00060617 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 62 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1099.59 | 0.03549 | 1160.9 | 46.2 | 0.0398 | 1.82 | 0.17% | 1.07 | 2659 | 59-Fe | 3896640 | 1.7788e-07 | 0.565 | 1.9827 | 0.0011668 | 0.058191 | 2.3716 | 2.3778 | 3.2061 | 63 | 58 | 0.0028 | 4.2796e-24 | 2.986e-24 | [8 empty] | 0.020762 | 0.0012082
1112.47 | 0.035142 | 241.8 | 33.2 | 0.00828 | 1.37 | 0.12% | 0.96 | 1377 |  |  | #DIV/0! |  | #DIV/0! | 0.00053253 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 64 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1120.86 | 0.034919 | 6397.1 | 86.2 | 0.219 | 1.8 | 0.16% | 0.9 | 7684 | 46-Sc | 7239456 | 9.5746e-08 | 0.99987 | 6.2747 | 0.0027391 | 0.078451 | 7.5056 | 7.5161 | 8.8279 | 65 | 45 | 1 | 4.9652e-23 | 3.4644e-23 | [8 empty] | 1.9888e-05 | 1.5602e-06
1173.6 | 0.033585 | 530.7 | 33.6 | 0.0182 | 1.8 | 0.15% | 1.26 | 1318 |  |  | #DIV/0! |  | #DIV/0! | 0.00078894 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 66 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1178.35 | 0.033471 | 171.6 | 23.9 | 0.00588 | 1.39 | 0.12% | 0.84 | 686 |  |  | #DIV/0! |  | #DIV/0! | 0.00044862 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 67 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1291.94 | 0.030961 | 788.8 | 36.4 | 0.027 | 1.75 | 0.14% | 0.95 | 1290 | 59-Fe | 3896640 | 1.7788e-07 | 0.565 | 1.5443 | 0.00096184 | 0.054985 | 1.8472 | 1.852 | 2.4972 | 68 | 58 | 0.0028 | 4.2796e-24 | 2.986e-24 | [8 empty] | 0.016171 | 0.00088917
1297.36 | 0.030851 | 23259.3 | 155.5 | 0.797 | 1.88 | 0.15% | 2 | 24254 | 47-Ca | 391910.4 | 1.7686e-06 | 0.71 | 36.365 | 0.0052229 | 0.23844 | 43.4988 | 44.6335 | 871.3868 | 69 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 36.5895 | 8.7245
1332.84 | 0.030154 | 546.5 | 28.7 | 0.0187 | 2.01 | 0.15% | 1.19 | 975 | 60-Co | 170000000 | 4.0773e-09 | 1 | 0.62067 | 0.00080059 | 0.02655 | 0.74243 | 0.74247 | 0.74758 | 70 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 5.9515e-05 | 1.5801e-06
1408.39 | 0.028778 | 410.4 | 25.1 | 0.0141 | 1.77 | 0.13% | 1.06 | 702 |  |  | #DIV/0! |  | #DIV/0! | 0.00069378 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 71 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1441.2 | 0.028222 | 92.7 | 17.4 | 0.00317 | 2.99 | 0.21% | 1.17 | 362 |  |  | #DIV/0! |  | #DIV/0! | 0.00032973 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 72 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1461.18 | 0.027895 | 263.2 | 20.9 | 0.00902 | 2.02 | 0.14% | 0.95 | 531 | 40-K | 40448000000000000 | 1.7137e-17 |  | #DIV/0! | 0.0005556 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 73 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1596.66 | 0.025877 | 2897.6 | 55.4 | 0.0992 | 2.07 | 0.13% | 1.23 | 3131 | 140-La | 144987.84 | 4.7807e-06 | 0.954 | 4.0197 | 0.0018435 | 0.074675 | 4.8083 | 5.1522 | 15864.4504 | 74 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0057056 | 0.00042606
2010.21 | 0.021291 | 416.3 | 21.7 | 0.0143 | 2.34 | 0.12% | 0.73 | 495 |  |  | #DIV/0! |  | #DIV/0! | 0.00069875 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 75 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2083.49 | 0.020655 | 132.2 | 13.2 | 0.00453 | 2.23 | 0.11% | 1.03 | 196 |  |  | #DIV/0! |  | #DIV/0! | 0.00039376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 76 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2521.92 | 0.01757 | 83.1 | 10.2 | 0.00285 | 2.38 | 0.09% | 0.74 | 116 | 140-La | 144987.84 | 4.7807e-06 | 0.0346 | 4.6814 | 0.00031219 | 0.51354 | 5.5997 | 6.0003 | 18475.8902 | 77 | 139 | 0.9991 | 1.9258e-23 | 1.3437e-23 | [8 empty] | 0.0066447 | 0.0034123
2614.71 | 0.01704 | 140.9 | 12.5 | 0.00483 | 2.52 | 0.1% | 0.75 | 163 |  |  | #DIV/0! |  | #DIV/0! | 0.00040651 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 78 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!

## Sample 13
Centroid | Efficiency | Net_Area | Net_Area | Peak | FWHM | FWHM | Reduced | ROI_Total | Isotope | Half-Life | Decay Constant | Branching Ratio | Activity | cps error | activity error | cps/g | cps/g Corrected | cps/g @t0 | ROI | A | I.A. | X-section (thermal) | X-section(corrected) | Live Time | Real Time | Dead Time | Sample ID/Type | Sample Mass | Time of Irradiaton | Time of Spectra | ∆t | EW/SW | EW/SW error
keV |  | Counts | Uncertainty | CPS | keV | Percent | Chi_Sqr | Counts |  | (s) | (1/s) |  |  |  |  | 1/(s*g) |  |  | ID# |  |  |  |  | (s) | (s) | (%) |  | (g) |  |  | (s)
159.31 | 0.18228 | 181609.2 | 432.6 | 6.22 | 1.08 | 0.68% | 30.9 | 195577 | 47-Sc | 288576 | 2.402e-06 | 0.683 | 49.9574 | 0.014594 | 0.11723 | 82.438 | 85.3654 | 3602.134 | 1 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | 29200 | 29226 | 0.09 | 13/Seashell 3 | 0.606 | 3/29/2016 - 2:52:50 PM | 4/16/16 - 15:39:08 | 1558038 | 111.3727 | 13.056
320.1 | 0.10094 | 2054.6 | 59.1 | 0.0704 | 1.12 | 0.35% | 1.16 | 4299 | 51-Cr? (syn) | 2393496 | 2.896e-07 | 0.1 | 6.9709 | 0.0015523 | 0.15379 | 11.5031 | 11.5518 | 18.1387 | 2 | 50 | 0.04345 | 1.7863e-23 | 1.2464e-23 | [8 empty] | 0.00096027 | 0.00014768
489.28 | 0.070466 | 3355.3 | 65.9 | 0.115 | 1.32 | 0.27% | 1.67 | 4833 | 47-Ca | 392256 | 1.7671e-06 | 0.062 | 26.3013 | 0.0019837 | 0.45406 | 43.4016 | 44.5319 | 698.8124 | 3 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 29.369 | 13.3353
514.14 | 0.067569 | 17478.9 | 136.8 | 0.599 | 1.35 | 0.26% | 5.92 | 19949 | annihlation |  | #DIV/0! |  | #DIV/0! | 0.0045277 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
554.53 | 0.063377 | 236.6 | 31.9 | 0.0081 | 1.53 | 0.28% | 0.91 | 1468 | 82-Br | 127080 | 5.4544e-06 | 0.708 | 0.18058 | 0.00052677 | 0.01174 | 0.29799 | 0.32237 | 1581.4967 | 5 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.0013896 | 1.6314e-05
583.28 | 0.060721 | 70.6 | 20.2 | 0.00242 | 0.668 | 0.11% | 1.18 | 658 |  |  | #DIV/0! |  | #DIV/0! | 0.00028775 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
767.02 | 0.048151 | 87.1 | 25.7 | 0.00298 | 1.34 | 0.18% | 1.15 | 971 | 47-Ca | 392256 | 1.7671e-06 | 0.00191 | 32.4339 | 0.00031961 | 3.4753 | 53.5213 | 54.9152 | 861.7511 | 7 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 36.2168 | 125.8637
776.77 | 0.047638 | 158.2 | 31.5 | 0.00542 | 1.82 | 0.24% | 0.98 | 1441 | 82-Br | 127080 | 5.4544e-06 | 0.835 | 0.1362 | 0.00043075 | 0.010829 | 0.22475 | 0.24314 | 1192.834 | 8 | 81 | 0.4931 | 8.1571e-24 | 5.6915e-24 | [8 empty] | 0.0010481 | 1.135e-05
808.1 | 0.046069 | 2366.2 | 55.6 | 0.081 | 1.62 | 0.2% | 0.92 | 3469 | 47-Ca | 392256 | 1.7671e-06 | 0.062 | 28.3704 | 0.0016659 | 0.58323 | 46.8159 | 48.0352 | 753.7867 | 9 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 31.6794 | 18.4764
889.49 | 0.042473 | 1726.2 | 50.4 | 0.0591 | 1.68 | 0.19% | 0.92 | 2970 | 46-Sc (syn) | 7214400 | 9.6078e-08 | 0.99984 | 1.3921 | 0.0014229 | 0.033506 | 2.2972 | 2.3004 | 2.6719 | 10 | 45 | 1 | 4.9652e-23 | 3.4644e-23 | [8 empty] | 5.9984e-06 | 2.0098e-07
1099.53 | 0.035492 | 1254.6 | 44.6 | 0.043 | 1.82 | 0.17% | 1.12 | 2191 | 59-Fe | 3896640 | 1.7788e-07 | 0.565 | 2.1426 | 0.001213 | 0.060491 | 3.5357 | 3.5449 | 4.6769 | 11 | 58 | 0.0028 | 4.2796e-24 | 2.986e-24 | [8 empty] | 0.030287 | 0.0018321
1120.88 | 0.034919 | 1503.6 | 47.2 | 0.0515 | 1.79 | 0.16% | 0.91 | 2491 | 46-Sc (syn) | 7214400 | 9.6078e-08 | 0.99987 | 1.4749 | 0.001328 | 0.038035 | 2.4337 | 2.4372 | 2.8307 | 12 | 45 | 1 | 4.9652e-23 | 3.4644e-23 | [8 empty] | 6.355e-06 | 2.4171e-07
1173.52 | 0.033587 | 757.2 | 34.7 | 0.0259 | 1.97 | 0.17% | 1.07 | 1450 | 60-Co | 170000000 | 4.0773e-09 | 1 | 0.77206 | 0.00094237 | 0.028057 | 1.274 | 1.2741 | 1.2822 | 13 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.00010208 | 2.8641e-06
1291.88 | 0.030962 | 814.1 | 33.2 | 0.0279 | 1.94 | 0.15% | 0.82 | 1111 | 59-Fe | 3896640 | 1.7788e-07 | 0.432 | 2.0844 | 0.00097714 | 0.073054 | 3.4396 | 3.4486 | 4.5499 | 14 | 58 | 0.0028 | 4.2796e-24 | 2.986e-24 | [8 empty] | 0.029465 | 0.0021525
1297.33 | 0.030852 | 22362.3 | 151.8 | 0.766 | 1.94 | 0.14% | 2.57 | 23087 | 47-Ca | 392256 | 1.7671e-06 | 0.71 | 34.9619 | 0.0051212 | 0.2338 | 57.6929 | 59.1955 | 928.9185 | 15 | 46 | 4e-05 | 3.6853e-24 | 2.5714e-24 | [8 empty] | 39.0397 | 9.1273
1332.83 | 0.030154 | 732.3 | 28.7 | 0.0251 | 1.94 | 0.14% | 1.52 | 870 | 60-Co | 170000000 | 4.0773e-09 | 1 | 0.83168 | 0.00092675 | 0.030733 | 1.3724 | 1.3725 | 1.3812 | 16 | 59 | 1 | 4.3258e-23 | 3.0183e-23 | [8 empty] | 0.00010996 | 3.3795e-06
1408.54 | 0.028776 | 84.2 | 12.9 | 0.00289 | 1.94 | 0.16% | 0.9 | 208 |  |  | #DIV/0! |  | #DIV/0! | 0.00031425 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 17 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1460.98 | 0.027898 | 246.4 | 17.8 | 0.00844 | 1.94 | 0.15% | 1.4 | 356 | 40-K | 40448000000000000 | 1.7137e-17 |  | #DIV/0! | 0.00053757 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 18 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1596.58 | 0.025878 | 91.9 | 13.2 | 0.00315 | 1.94 | 0.15% | 0.74 | 215 |  |  | #DIV/0! |  | #DIV/0! | 0.0003283 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 19 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
1764.79 | 0.023773 | 37.8 | 8.1 | 0.0013 | 1.94 | 0.07% | 2.06 | 85 |  |  | #DIV/0! |  | #DIV/0! | 0.00021055 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 20 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2010 | 0.021293 | 88 | 11.1 | 0.00301 | 1.94 | 0.15% | 0.69 | 142 | Sum peak (46-Sc) |  | #DIV/0! |  | #DIV/0! | 0.00032126 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 21 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2505.95 | 0.017665 | 46.8 | 8 | 0.0016 | 1.94 | 0.11% | 1.33 | 73 |  |  | #DIV/0! |  | #DIV/0! | 0.00023428 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 22 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!
2614.78 | 0.01704 | 152 | 12.8 | 0.00521 | 1.94 | 0.1% | 0.71 | 172 |  |  | #DIV/0! |  | #DIV/0! | 0.00042222 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 23 |  |  |  | 0 | [8 empty] | #DIV/0! | #DIV/0!